# SECTION 074234

# exterior NCORE mineral fiber and phenolic resin rain screen panels

# PART 1	GENERAL

## GENERAL REQUIREMENTS

##### Work of this Section, as shown or specified, shall be in accordance with the requirements of the Contract Documents.

## section includes

##### The Work of this Section includes all labor, materials, equipment, and services necessary to complete the solid phenolic rainscreen panels and accessories as shown on the drawings and/or specified herein, including, but not necessarily limited to, the following:

###### High-pressure  noncombustible laminate panels with mineral fiber and  phenolic resin core with an integrated polyurethane acrylic resin UV stable topcoat  used at walls and soffits.

###### supporting substructure which is part of the rainscreen system design.

###### Accessories, including anchors and attachments.

## RELATED sections

##### Cold-Formed Metal Framing - Section 054000.

##### Thermal Insulation - Section 072100.

##### Air Barrier - Section 072700.

##### Division 06 “Rough Carpentry” for in wall blocking as needed for attachment of rainscreen substructure.

## SYSTEM DESCRIPTION

##### Exterior Rainscreen Assembly: Mineral fiber and  phenolic resin core, noncombustible exterior grade rainscreen wall panels, substructure, attachment system components, air/vapor barrier membrane, continuous exterior insulation, and all accessories necessary for a complete rear-ventilated, weathertight exterior rainscreen wall system. Furnish fastenings and flashings as required to complete rainscreen system.

## performance criteria

##### Performance Requirements:  Provide panels that have been manufactured, fabricated and installed to maintain performance criteria stated by manufacturer, without defects, damage or failure.

##### Structural Design:  Design calculations certified by a registered professional engineer licensed in the State of _______ shall be submitted to verify load carrying capability of panel system.  Panel system shall be capable of resisting a minimum positive and negative wind load per ASCE-7 or building code, whichever is greater.

##### Deflection Limits:  Support structure and exterior phenolic rainscreen panel system shall be designed in accordance with the Manufacturer’s recommended maximum deflection when tested under positive and negative design wind gust loads and shall withstand wind gust loads with horizontal deflections no greater than the Manufacturer’s allowable span, based on current wind load tables.

##### Thermal Movements: Exterior Mineral fiber and Solid phenolic resin core  rainscreen panel system shall allow for thermal movements from ambient air, changes and relative humidity preventing buckling, opening of joints, over-stressing of components, failure of connections and other detrimental effects.

###### Substructure to accommodate expansion and contraction of the exterior cladding material.

##### Support Structure: Provide aluminum support structure capable of the following:

###### Design and install aluminum support structure to accommodate expected construction tolerances and misalignment, deflection of building structural components, and openings in the building enclosure as designed.

## SUBMITTALS

##### Product Data: For each type of product indicated. Include Manufacturer’s written installation instructions, including recommendations for evaluating, preparing, and treating substrate, rainscreen panel technical data, material descriptions, and finishes and tested physical and performance properties.

##### Shop Drawings: Show fabrication and installation layouts of Mineral fiber and Solid phenolic resin core exterior rainscreen panel, details of aluminum support structure attachment and wall structure conditions, anchorages for aluminum support structure, attachment system for panels, allowances for thermal expansion, trim, closures, flashings, corner conditions, and accessories as required or specified by the architect, and all special job specific details.

##### Samples:  Submit selection and verification samples for finishes, colors and textures of panel material. For exposed fastening systems submit color matched exterior stainless steel Torx head fasteners for each color specified. If riveted fastening is selected by architect provide color matched rivets for each panel color specified.

##### Quality Assurance:  Submit the following:

###### Test Reports:  Submit certified test reports showing compliance with specified performance characteristics and physical properties.

Product certificates signed by manufacturer certifying materials comply with specified performance characteristics and criteria and physical requirements.

###### Manufacturer’s Instructions:  Manufacturer’s installation instructions.

###### Manufacturer’s Field Reports:  Manufacturer’s field reports specified herein.

##### Closeout Submittals:  Submit the following:

###### Operation and Maintenance Data:  Include methods for maintaining installed products and precautions against cleaning materials and methods detrimental to finishes and performance.

###### Warranty:  Warranty documents specified herein.

## QUALITY ASSURANCE

##### Installer Qualifications:  Installer shall be approved by the manufacturer and have a minimum of five (5) years of experience in performing work of similar type and scope.

##### Fabricator Qualifications: A shop that employs skilled workers who custom fabricate solid phenolic or similar exterior rainscreen wall panel systems to those specified herein and is approved by the manufacturer. If shop drawings are required for the project the shop drawings are to be drawn and coordinated by the approved fabrication company.

##### Pre-Installation Conference: Conduct pre-installation conference at Project site prior to commencing construction of mock-up specified herein to verify Project requirements.

###### Review Mineral fiber and Solid phenolic resin core rainscreen panel installation requirements including substrate surface preparation, environmental or site limitations, typical details including attachment and trims, Manufacturer’s recommended installation procedures, coordination with adjacent trades, testing and inspection procedures (if any), protection of work and repair procedures.

###### Ensure all sub-trades interfacing with or affected by the construction of the Mineral fiber and Solid phenolic resin core rainscreen wall panel system are present, including Architect, General Contractor, solid phenolic panel Manufacturers Representative, mockup and commissioning testing agencies, air barrier installation contractor, exterior insulation installer, electrical installer and any other installer whose work interfaces with or affects the solid phenolic rainscreen wall panels.

##### Source Limitations: Obtain solid phenolic rainscreen wall panels and all auxiliary materials   from a single source Manufacturer who has a minimum of 25 years of experience in the manufacturing of exterior high pressure phenolic rainscreen panels or an accessory Manufacturer who is certified by the solid phenolic rainscreen panel Manufacturer. Panels to be manufactured by a Manufacturer with ISO9001 and ISO14001 certification of standards.

Specifier Note:  Retain or delete as necessary.

Specifier Note: Indicate square footage of mockup.

## Mock Up (Optional)

##### Before construction of the exterior rainscreen envelope, construct a mock-up to verify selections made under approved submittals and to demonstrate typical joints, surface finish, texture, tolerances, attachments to building structure, methods of installation, connections to adjacent building enclosure materials, and standard and quality of workmanship. Build mock-up to comply with the following requirements using materials indicated for completion of the Work:

###### Mock-up shall be a minimum of ____square feet and shall demonstrate substrate surface preparation, air barrier membrane joint and crack treatment, Mineral fiber and Solid phenolic resin core rainscreen panel attachment, penetration sealing, connection to window and other adjacent building envelope materials, attachment method to wall substrate, and standard of workmanship.

###### Demonstrate continuity, air, and water tightness of air and water barrier and installation and attachment of continuous exterior insulation.

###### (Optional) Provide in-situ mockup testing according to the Project requirements as specified herein by an independent testing agency approved and certified to perform such testing

###### If Architect determines that the field constructed mock-up does not meet Project requirements, reinstall mock-up until approved.

###### Retain and maintain the approved field mockup during construction in an undisturbed condition as a standard for judging the completed exterior solid phenolic rainscreen panel system. At the architect’s discretion, the mock-up may be part of the completed Work.

## DELIVERY, STORAGE and HANDLING

##### Delivery:  Deliver materials in manufacturer's original, unopened, undamaged containers with identification labels intact.

##### Storage and Protection:  Store materials protected from exposure to harmful weather conditions, at temperature and humidity conditions recommended by manufacturer.

## PROJECT CONDITIONS

##### Field Measurements:  Verify actual measurements/openings by field measurements before fabrication; show recorded measurements on shop drawings.  Coordinate field measurements and fabrication schedule with construction progress to avoid construction delays.

## WARRANTY

##### Submit Manufacturer’s standard 10 year limited warranty covering defects in material or manufacturing quality, including color fastness warranty.

##### Warranty is only available when Mineral fiber and Solid phenolic resin core rainscreen panels are installed and fabricated by an installation contractor that has been approved by the Manufacturer and has followed the recommended guidelines of the Manufacturer, and has been signed and dated by the appropriate parties listed on the warranty registration form.

# PART 2	PRODUCTS

### Mineral fiber and Solid phenolic resin core WALL PANELS

##### Basis of Design:  Provide "Max Exterior NCORE" panels as manufactured by FunderMax GmBH / FunderMax North America, 9401-P Southern Pine Blvd, Charlotte NC 28273. Please contact _________________ at _____________. A list of local fabricators or installers that comply with this specification section may be requested from the above contact.

###### Material:  noncombustible Mineral fiber and Solid phenolic resin core panels with standard grey core comprised of mineral core.

Rainscreen Panel Surface: NT

Fire Resistance:  Non Combustible

Modulus of Elasticity: 1,087,782-psi minimum.

Weight: 7mm 2.8 lbs./SF

Flexural Strength: 5,221-PSI, minimum

Density:  1.9 g/cm3

Freeze/Thaw cycle test:  passed.

Optical Properties: Color Stability Gray Scale > 3 per EN 438-2:2016,29.

Panels shall be hail impact resistant with no breakage per Austrian APBIC Standard, Association of Public Building Insurance Companies. Equivalent test standard 69.85mm ice ball at a velocity of 31.74 meters/second (71 mph) without breakage, tearing or discoloration.

Panels shall have an Environmental Product Declaration (EPD) Report.

Panels shall have a Health Product Declaration (HPD)

Specifier Note:  Select color and Thickness

###### Colors:  Submit manufacturer's standard colors for selection by Architect

            - Color:  [Colour][Nature][Material] [choose1]

As selected by Architect from Manufacturer’s standard color range and shown on drawings

###### Finish:  NT

###### Panel Core:  Grey

###### Rainscreen Panel Thickness: 7mm for Exposed Fastening / 9mm for Concealed Fastening [Choose 1]

###### Panel Module for finished installation: As indicated on the architectural drawings.

##### Panel Tolerances

###### Thickness: 1/32”, maximum.

###### Length: ¼”, maximum.

###### Width: ¼”, maximum.

###### Non-porous homogenous surface and edges which do not require sealing after cutting or drilling.

Specifier Note:  Contact manufacturer for other tested support structures

### support structure

##### Support  systems

###### Exposed Fastening Type using extruded aluminum profiles, clips, closures, color matched fasteners and Tees as indicated on the architectural drawings. [7mm]

Extruded 6063T5 or 6063T6 Alloy Aluminum which may be mill finish or painted, or powder coated black for the type of use indicated on the project Drawings.

Fasteners:  SFS SX3 D16 screws or SFS AP 16 rivets, color matched , as indicated on the architectural drawings.

###### Concealed Bracket and Rail Components using extruded aluminum profiles, clips, closures and Tees as indicated on the architectural drawings. [9mm]

Made from 6063T5 or 6063T6 Alloy Aluminum.

Concealed items to be mill finish, exposed items to be [painted], [powder-coated] or [anodized black] in exposed areas.

Brackets to be adjustable for out of plumb conditions.

### SOURCE QUALITY CONTROL:

##### Panels shall be specifically designed for exterior rainscreen wall applications. Fabricated panels shall comply with all current codes and regulations for the Project. Panels shall have uniform thickness (+0.03”) and flatness (maximum difference of 0.03”) for a 10 foot span.

##### Panels shall meet sections 703.5.1 and 703.5.2 of 2015 IBC Code for Non Combustible Materials

###### ASTM E136-16- Standard Behavior of Materials in a Vertical Tube Furnace at 750 degrees Celsius

Result: PASS

###### ASTM E84-16 – Standard Test Method for Surface Burning Characteristics of Building Materials;

Result; Flame Spread Index =0 , Smoke Develop Index =10.

##### UV stable surface of Acrylic-PUR resin coating of 100 micron thickness or greater with color stability > 3 on Gray Scale.

### FABRICATION

##### Fabricate solid phenolic wall panels and accessory items in accordance with manufacturer's recommendations and approved submittals at a fabrication facility approved by the Manufacturer

##### Fabricate panels with a minimum of 1mm micro bevel on the exposed face.

##### Comply with indicated profiles and within dimensional and structural requirements. Fabricator shop drawings to comply with manufacturer’s written guidelines for ventilation of the rainscreen façade.

# PART 3	EXECUTION

#### MANUFACTURER'S INSTRUCTIONS

##### Compliance:  Comply with manufacturer’s product data, including product technical bulletins, product catalog installation instructions and product carton instructions for installation.

#### EXAMINATION

##### Site Verification of Conditions:  Verify that substrate conditions, which have been previously installed under other sections, are acceptable for product installation in accordance with manufacturer's instructions.

##### Verify that air and weather resistant barrier has been installed over structural sheathing in accordance with air barrier Manufacturer’s recommended installation instructions and terminated properly at openings to prevent air infiltration or water penetration.

##### Proceed with installation only after unsatisfactory conditions have been corrected.

#### INSTALLATION

##### Install wall panels plumb and level and accurately spaced in accordance with manufacturer’s recommendations and approved submittals.

##### Fasten solid phenolic wall panels to supporting substrate with faced fasteners approved for use with adjoining construction.

##### Accessory Items:  Install corner profiles, gaskets and trim with fasteners and adhesive appropriate for use with adjoining construction as indicated on drawings and as recommended by manufacturer.

##### Do not apply sealant to solid phenolic rainscreen panel joinery unless otherwise indicated on approved Shop Drawings or in accordance with the Manufacturer’s recommended installation instructions.

#### CLEANING

##### Cleaning:  Remove temporary coverings and protection of adjacent work areas.  Repair or replace damaged installed products.  Clean installed products in accordance with manufacturer's instructions prior to Owner's acceptance.  Remove construction debris from project site and legally dispose of off site.

#### PROTECTION

##### Protection:  Protect installed product and finish surfaces from damage during construction.

# END OF SECTION